Instruction manual of URG Recorder

- Connect a Hokuyo laser scanner to your PC in which the USB driver has been installed.

- Open the software URG Recorder.

- Click “Connect” in the application window and input capture times.

- Select file formats from “CSV” and “Raw”

- Click on “Record”, the recorded files will be placed in the folder where the software “URG Recorder” is. The folder will be named as the time that the recording takes place.

- Meaning of each column in the CVS file

A: Step number (showed in software window as “# index”)

B: Distance value (showed in software window as “length”)

C: Radian

D: X-axis value

E: Y-axis value